{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":42,"n_cols":11,"rows_kept":42,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FHQ-C"]
[]
[]
[]
[]
["","","","","FHQ35CAVEB","FHQ50CAVEB","FHQ60CAVEB","FHQ71CAVEB","FHQ100CAVEB","FHQ125CAVEB","FHQ140CAVEB"]
["Sound pressure level","Heating","High","dBA","36","37","37","38","42","44","46"]
["","","Nom.","dBA","34","35","35","36","38","41","42"]
["","","Low","dBA","31","32","33","34","34","37","38"]
["","Cooling","Low","dBA","31","32","33","34","34","37","38"]
["","","High","dBA","36","37","37","38","42","44","46"]
["","","Nom.","dBA","34","35","35","36","38","41","42"]
["Standard Accessories","Installation manual","","","Installation manual","Installation manual","Installation manual","Installation manual","Installation manual","Installation manual","Installation manual"]
["","Operation manual","","","Operation manual","Operation manual","Operation manual","Operation manual","Operation manual","Operation manual","Operation manual"]
["","Declaration of conformity","","","Declaration of conformity","Declaration of conformity","Declaration of conformity","Declaration of conformity","Declaration of conformity","Declaration of conformity","Declaration of conformity"]
["","Drain hose","","","Drain hose","Drain hose","Drain hose","Drain hose","Drain hose","Drain hose","Drain hose"]
["","Clamp metal","","","Clamp metal","Clamp metal","Clamp metal","Clamp metal","Clamp metal","Clamp metal","Clamp metal"]
["","Washer for hanger bracket","","","Washer for hanger bracket","Washer for hanger bracket","Washer for hanger bracket","Washer for hanger bracket","Washer for hanger bracket","Washer for hanger bracket","Washer for hanger bracket"]
["","Clamps","","","Clamps","Clamps","Clamps","Clamps","Clamps","Clamps","Clamps"]
["","Installation pattern","","","Installation pattern","Installation pattern","Installation pattern","Installation pattern","Installation pattern","Installation pattern","Installation pattern"]
["","Joint insulating material","","","Joint insulating material","Joint insulating material","Joint insulating material","Joint insulating material","Joint insulating material","Joint insulating material","Joint insulating material"]
["","Sealing material","","","Sealing material","Sealing material","Sealing material","Sealing material","Sealing material","Sealing material","Sealing material"]
["","Resin bushing","","","Resin bushing","Resin bushing","Resin bushing","Resin bushing","Resin bushing","Resin bushing","Resin bushing"]
["","Wiring fixture","","","Wiring fixture","Wiring fixture","Wiring fixture","Wiring fixture","Wiring fixture","Wiring fixture","Wiring fixture"]
["","Screw for wiring fixture","","","Screw for wiring fixture","Screw for wiring fixture","Screw for wiring fixture","Screw for wiring fixture","Screw for wiring fixture","Screw for wiring fixture","Screw for wiring fixture"]
["Control systems","Wired remote control","","","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B","BRC1D52, BRC1E52A/B"]
["","Infrared remote control","","","BRC7G53","BRC7G53","BRC7G53","BRC7G53","BRC7G53","BRC7G53","BRC7G53"]
["Piping connections","Liquid","OD","mm","6.35","6.35","6.35","9.52","9.52","9.52","9.52"]
["","Gas","OD","mm","9.5","12.7","12.7","15.9","15.9","15.9","15.9"]
["","Drain","","","VP20","VP20","VP20","VP20","VP20","VP20","VP20"]
["Sound power level","Cooling","","dBA","53","54","54","55","60","62","64"]
["","Heating","","dBA","53","54","54","55","60","62","64"]
["Dimensions","Unit","Width","mm","960","960","1,270","1,270","1,590","1,590","1,590"]
["","","Depth","mm","690","690","690","690","690","690","690"]
["","","Height","mm","235","235","235","235","235","235","235"]
["Casing","Material","","","Resin, sheet metal","Resin, sheet metal","Resin, sheet metal","Resin, sheet metal","Resin, sheet metal","Resin, sheet metal","Resin, sheet metal"]
["","Colour","","","Fresh White","Fresh White","Fresh White","Fresh White","Fresh White","Fresh White","Fresh White"]
["Weight","Unit","","kg","24","25","31","32","38","38","38"]
["Power supply","Phase","","","1~","1~","1~","1~","1~","1~","1~"]
["","Name","","","VE","VE","VE","VE","VE","VE","VE"]
["","Frequency","","Hz","50/60","50/60","50/60","50/60","50/60","50/60","50/60"]
["","Voltage","","V","220-240/220","220-240/220","220-240/220","220-240/220","220-240/220","220-240/220","220-240/220"]